TESTING MANUAL

Purpose of this manual:

This manual is designed to guide users through performing the three strabismus detection tests without the use of a connected camera. Instead, users can capture images using their own mobile phone cameras and upload them manually into the appropriate folders for each test.

PROCEDURE:

- Note patient name as Name_id_dob_date

- Dob and date will be in this format YYYY-MM-DD if it is 27 june 2005 then it is 2005-06-27

- Ex:- Teja Kumar Narayana_12345678_2005-06-27_2025-06-26

Note: Please ensure that all captured images are clear and that the patient's full face is clearly visible. Failure to meet these criteria may result in an error.

1. Preliminary Test

Folders  Involved:

- preliminary

- Preliminary_Results

Instructions:

- Store the captured image for the preliminary test in the preliminary folder. Name the image according to the convention specified in the earlier steps.

- Ensure the image you place is the most recent among all images in the preliminary folder.

- After completing the steps above, open your browser and navigate to:
http://localhost:5000/results

- If results are not generated, try the following steps:

  - Clear all data from both preliminary and Preliminary_Results folders, or move the existing files to a backup location.

  - Then, place only the current test image in the preliminary folder.

- If you still do not receive any results, proceed to Step 4.

Successful Execution:

If the process runs successfully, the results will be saved in the Preliminary_Results folder. The output will include:

- A result image with the same name used earlier.

- A corresponding text file with the same name.

2. Hirschberg Test

NOTE: The background shouldn’t be exposed to a bright setting because Hirschberg test contains use of LED light whose reflection in the iris centre is measured for operating the tests.

Folders Involved:

- HirschbergTestImages

- Hirschberg_Results

Instructions:

- Store the image captured for the Hirschberg test in the HirschbergTestImages folder. Use the same naming convention as mentioned in the previous steps.

- Ensure the image is the most recent among all images in the HirschbergTestImages folder.

- After completing the above steps, open your browser and go to:
http://localhost:5000/hirschberg_results

- If results are not being generated, follow these steps:

  - Clear all data from both the HirschbergTestImages and Hirschberg_Results folders, or move the existing files to a backup location.

  - Place only the current test image in the HirschbergTestImages folder.

- If results still do not appear, proceed to Step 4.

Successful Execution:

If the process runs successfully, you will find the results in the Hirschberg_Results folder. The output will include:

- A result image with the same name used earlier.

- A text file named in the format: processed_{{patient name}}.txt

3. 9 Gaze Test:

Folders Involved:

- 9GazeTestImages

- 9GazeResults

| gaze_1 | gaze_2 | gaze_3 |
| --- | --- | --- |
| gaze_4 | gaze_5 | gaze_6 |
| gaze_7 | gaze_8 | gaze_9 |

Instructions:

- Capture all 9 images in the exact order listed above.
⚠️ Do not capture images out of sequence (e.g., gaze_1, then gaze_3). The system will treat the first captured image (regardless of name) as gaze_1. Always capture them sequentially from gaze_1 to gaze_9.

- Name each image according to the format:
gaze_1.jpg, gaze_2.jpg, ..., gaze_9.jpg

- Create a folder using the naming convention defined in the earlier steps:
{{FullName_PatientID_DOB}}_{{TestDate}}
Example:
Teja Kumar Narayana_12345678_2005-06-27_2025-06-26

  - DOB and test date should be in the format: YYYY-MM-DD.

- Place all 9 gaze images into this folder.

- Move the folder into the 9GazeTestImages folder.

- In your browser, go to the following URL:
http://localhost:5000/9gaze_results?name={{FullName_PatientID_DOB}}
Example:
http://localhost:5000/9gaze_results?name=Teja Kumar Narayana_12345678_2005-06-27

Successful Execution:

If successful, the results will be stored in the 9GazeResults folder under a subfolder named:
{{FullName_PatientID_DOB_TestDate}}_Areal
Example:
Teja Kumar Narayana_12345678_2005-06-27_2025-06-26_Areal